## Sheet1
Model number | Voltage(V) | Wattage(W) | Replaces/Equiv.(HPS) | Controls | Lumens(lm) | CCT(K) | CRI | Distribution | Dimension W/O mounting bracket(L"-W"-H") | Finish/Color | IP Rating | Material | Compliance | Average life based on 104F(HRS) | IES Files | Order number
SL100301-SAR-II | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13050
SL100401-SAR-II | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13051
SL100501-SAR-II | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13052
SL100301-RAR-II | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13053
SL100401-RAR-II | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13054
SL100501-RAR-II | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13055
SL100301-SF-II | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13056
SL100401-SF-II | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13057
SL100501-SF-II | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13058
SL100301-TR-II | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13059
SL100401-TR-II | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13060
SL100501-TR-II | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13061
SL100301-SAR-III | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13062
SL100401-SAR-III | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13063
SL100501-SAR-III | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13064
SL100301-RAR-III | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13065
SL100401-RAR-III | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13066
SL100501-RAR-III | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13067
SL100301-SF-III | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13068
SL100401-SF-III | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13069
SL100501-SF-III | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13070
SL100301-TR-III | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13071
SL100401-TR-III | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13072
SL100501-TR-III | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13073
SL100301-SAR-V | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13074
SL100401-SAR-V | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13075
SL100501-SAR-V | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13076
SL100301-RAR-V | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13077
SL100401-RAR-V | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13078
SL100501-RAR-V | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13079
SL100301-SF-V | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13080
SL100401-SF-V | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13081
SL100501-SF-V | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13082
SL100301-TR-V | 120-277 | 94 | 100-175W | Available | 12860 | 3000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13083
SL100401-TR-V | 120-277 | 94 | 100-175W | Available | 12860 | 4000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13084
SL100501-TR-V | 120-277 | 94 | 100-175W | Available | 12860 | 5000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13085
SL150301-SAR-II | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13086
SL150401-SAR-II | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13087
SL150501-SAR-II | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13088
SL150301-RAR-II | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13089
SL150401-RAR-II | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13090
SL150501-RAR-II | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13091
SL150301-SF-II | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13092
SL150401-SF-II | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13093
SL150501-SF-II | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13094
SL150301-TR-II | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13095
SL150401-TR-II | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13096
SL150501-TR-II | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | II | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13097
SL150301-SAR-III | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13098
SL150401-SAR-III | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13099
SL150501-SAR-III | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13100
SL150301-RAR-III | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13101
SL150401-RAR-III | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13102
SL150501-RAR-III | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13103
SL150301-SF-III | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13104
SL150401-SF-III | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13105
SL150501-SF-III | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13106
SL150301-TR-III | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13107
SL150401-TR-III | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13108
SL150501-TR-III | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | III | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13109
SL150301-SAR-V | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13110
SL150401-SAR-V | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13111
SL150501-SAR-V | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13112
SL150301-RAR-V | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13113
SL150401-RAR-V | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13114
SL150501-RAR-V | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13115
SL150301-SF-V | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13116
SL150401-SF-V | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13117
SL150501-SF-V | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13118
SL150301-TR-V | 120-277 | 150 | 250-400W | Available | 19500 | 3000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13119
SL150401-TR-V | 120-277 | 150 | 250-400W | Available | 19500 | 4000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13120
SL150501-TR-V | 120-277 | 150 | 250-400W | Available | 19500 | 5000 | 70 | V | 15.67''-12.9''-3.35'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13121
SL300301-SAR-II | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13122
SL300401-SAR-II | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13123
SL300501-SAR-II | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13124
SL300301-RAR-II | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13125
SL300401-RAR-II | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13126
SL300501-RAR-II | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13127
SL300301-SF-II | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13128
SL300401-SF-II | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13129
SL300501-SF-II | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13130
SL300301-TR-II | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13131
SL300401-TR-II | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13132
SL300501-TR-II | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | II | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13133
SL300301-SAR-III | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13134
SL300401-SAR-III | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13135
SL300501-SAR-III | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13136
SL300301-RAR-III | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13137
SL300401-RAR-III | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13138
SL300501-RAR-III | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13139
SL300301-SF-III | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13140
SL300401-SF-III | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13141
SL300501-SF-III | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13142
SL300301-TR-III | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13143
SL300401-TR-III | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13144
SL300501-TR-III | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | III | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13145
SL300301-SAR-V | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13146
SL300401-SAR-V | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13147
SL300501-SAR-V | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13148
SL300301-RAR-V | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13149
SL300401-RAR-V | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13150
SL300501-RAR-V | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13151
SL300301-SF-V | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13152
SL300401-SF-V | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13153
SL300501-SF-V | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13154
SL300301-TR-V | 120-277 | 310 | 750-1000W | Available | 40600 | 3000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13155
SL300401-TR-V | 120-277 | 310 | 750-1000W | Available | 40600 | 4000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13156
SL300501-TR-V | 120-277 | 310 | 750-1000W | Available | 40600 | 5000 | 70 | V | 24''-14.5''-3.5'' | dark bronze | 65 | Aluminum | DLC Premium | 50000 |  | 13157