## Normal
Model number | Voltage(V) | Wattage (W) | Replaces/Equiv.(MH) | Dimming/Control | Lumens(lm) | CCT(K) | CRI | Distribution | Dimension(L"-W"-H") | Finish/Color | IP Rating | Material | Compliance | Average life based on 104F(HRS) | IES files | Order number
AKT-42SP-SW1-III-BK | 120-277 | 24W/30W/42W selectable | 50W-400W | Available | 5800lm@42W | 3000/4000/5000K | 70 | / | 10.1"-6.3"-5.5" | Black | 65 | aluminum | UL | 50000 |  | 17795
AKT-80SP-SW1-III-BK | 120-277 | 50W/60W/80W selectable | 50W-400W | Available | 11300lm@80W | 3000/4000/5000K | 70 | / | 12.6"-10"-7.5" | Black | 65 | aluminum | UL | 50000 |  | 17796
AKT-120SP-SW1-III-BK | 120-277 | 80W/100W/120W selectable | 50W-400W | Available | 16950lm@120W | 3000/4000/5000K | 70 | / | 15.7"-10.6"-8.1" | Black | 65 | aluminum | UL | 50000 |  | 17797
AKT-42SP-SW1-PC-III-BK | 120-277 | 24W/30W/42W selectable | 50W-400W | photocell | 5800lm@42W | 3000/4000/5000K | 70 | / | 10.1"-6.3"-5.5" | Black | 65 | aluminum | UL | 50000 |  | 17887
AKT-80SP-SW1-PC-III-BK | 120-277 | 50W/60W/80W selectable | 50W-400W | photocell | 11300lm@80W | 3000/4000/5000K | 70 | / | 12.6"-10"-7.5" | Black | 65 | aluminum | UL | 50000 |  | 17888
AKT-120SP-SW1-PC-III-BK | 120-277 | 80W/100W/120W selectable | 50W-400W | photocell | 16950lm@120W | 3000/4000/5000K | 70 | / | 15.7"-10.6"-8.1" | Black | 65 | aluminum | UL | 50000 |  | 17889
AKT-80SP-SW1-MS-III-BK | 120-277 | 50W/60W/80W selectable | 50W-400W | Sensor | 11300lm@80W | 3000/4000/5000K | 70 | / | 12.6"-10"-7.5" | Black | 65 | aluminum | UL | 50000 |  | 17890
AKT-120SP-SW1-MS-III-BK | 120-277 | 80W/100W/120W selectable | 50W-400W | Sensor | 16950lm@120W | 3000/4000/5000K | 70 | / | 15.7"-10.6"-8.1" | Black | 65 | aluminum | UL | 50000 |  | 17891
AKT-80SP-SW1-EBU-III-BK | 120-277 | 50W/60W/80W selectable | 50W-400W | Emergency battery back-up | 11300lm@80W | 3000/4000/5000K | 70 | / | 12.6"-10"-7.5" | Black | 65 | aluminum | UL | 50000 |  | 17892
AKT-120SP-SW1-EBU-III-BK | 120-277 | 80W/100W/120W selectable | 50W-400W | Emergency battery back-up | 16950lm@120W | 3000/4000/5000K | 70 | / | 15.7"-10.6"-8.1" | Black | 65 | aluminum | UL | 50000 |  | 17893